## Slide 1
Middlemarch Flood Investigation

## Slide 2: Overview
MARCH CREEK
DEWAR STREAM
ROCK CREEK
UNNAMED
CREEK
TAIERI RIVER

## Slide 3: Where things stand

## Slide 4: Phase 1 recap
Conclusions
Determined that Existing Infrastructure is Undersized
Channel Capacity is Lacking
Recommendations
Additional Survey - Complete
Model Refinements - Complete
Look at Debris Flow - Complete
Develop Concept Alternatives - Today

## Slide 5: Phase 2
Survey

## Slide 6: Phase 2
Model Refinements

## Slide 7: Risk is low

## Slide 8: Debris flow

## Slide 9: Rail and Tawe St Structure Enlargement
Enlarging the RR and Tawe St. Structures Alone Made Almost No Difference

## Slide 10: Phase 2
What we learned
Phase 2 confirmed Phase 1 findings
  Existing infrastructure is undersized
  Upstream channel capacity is lacking
  Discharge forced into other channels
  Stormwater system not designed for purpose
Debris flow not a major concern
Risk is low
Solutions are not readily apparent

## Slide 11: Phase 2
What are the options?
Key considerations
Enlarging structures could prove difficult
limited opportunity to raise structures
Solutions likely need to extend upstream
Larger structures without channel modification is minimally effective

## Slide 12: Profile

## Slide 13: Plan

## Slide 14: Channel improvements
Cost: $-$$$

## Slide 15: Rough estimates
Let's Assume:
Trapezoidal Channel
Grass Lined (n=.035)
2:1 Side Slopes
Slope: .8% - Average
Max Depth 1m (.2m freeboard)
  How Wide Would We Need?

## Slide 16: Rough estimates
How does this compare with the observation?

## Slide 17: Diversion channel
Cost: $$$
Water begins to overtop lower banks

## Slide 18: Debris Basins
Cost: $$$$

## Slide 19: Other?
Cost: $$-$$$$
Reforestation?
Wetlands?

## Slide 20: Summary
Multiple Issues Exist
  Undersized Structures
  Limited Channel Capacity
Risk is Generally Low
No Low Hanging Fruit
Solution is Likely to be a Large Effort
Based on This -Do We Proceed to Phase 3?

## Slide 21: Next Steps
Discussion – Phase 3
Develop Alternatives?
Funding?
Timeline?