## Full sampling
Mt Cooee Landfill : Compliance Monitoring
Sites and parameters | [5 empty] | Sites refer to Plan "Mt Cooee Sampling Location Map" WSP October 2023
Analyses | [5 empty] | Sampling Location
|  |  |  | Groundwater Bores |  |  |  | Stormwater |  | Clutha River |  | Leachate
|  | GW1A/BH2 | GW2A | GW3 | GW 7 | BH5 | WC1 | WC2 | WC3 | SW1 | SW2 | LEA1
|  | Upstream bore | Bore downstream of sheetpile cutoff | Downstream Stage 1 | Upstream bore | Upstream of wetland and downstream of Stage 2 | Upstream site, golf course side of rail | Stormwater channel downstream of sheet pile | Stream at discharge to Clutha | River at banks edge u/s rail bridge | River at banks edge d/s of site | Leachate pumpstation
1. General Parameters | [12 empty] | 1. General Parameters
pH | [12 empty] | pH
Conductivity | (mS/m) | [11 empty] | Conductivity
alkalinity | (g/m3) | [11 empty] | alkalinity
Total Organic Carbon | (g/m3) | [11 empty] | Total Organic Carbon
BOD | (g/m3) | [11 empty] | BOD
COD | (g/m3) | [11 empty] | COD
Soluble Boron | (g/m3) | [11 empty] | Soluble Boron
Temperature | (deg. C) | [11 empty] | Temperature
Water Level : Depth | (m) | [11 empty] | Water Level : Depth
Water Level : RL | (RL m) | [11 empty] | Water Level : RL
2. Nutrients | [12 empty] | 2. Nutrients
Nitrate-N | (g/m3) | [11 empty] | Nitrate-N
Nitrite-N | (g/m3) | [11 empty] | Nitrite-N
Ammoniacal-N | (g/m3) | [11 empty] | Ammonium-N
T.K.N. | (g/m3) | [11 empty] | T.K.N.
DRP | (g/m3) | [11 empty] | DRP
3. Anions | [12 empty] | 3. Anions
Chloride | (g/m3) | [11 empty] | Chloride
Sulphate | (g/m3) | [11 empty] | Sulphate
4. Cations | [12 empty] | 4. Cations
Calcium | (g/m3) | [11 empty] | Calcium
Sodium | (g/m3) | [11 empty] | Sodium
Magnesium | (g/m3) | [11 empty] | Magnesium
Potassium | (g/m3) | [11 empty] | Potassium
5. Heavy metals | [12 empty] | 5. Heavy metals
Acid Soluble Zinc | (g/m3) | [11 empty] | Acid Soluble Zinc
Soluble iron | (g/m3) | [7 empty] | Metals as totals |  |  |  | Soluble iron
Soluble Manganese | (g/m3) | [11 empty] | Soluble Manganese
Soluble Aluminium | (g/m3) | [11 empty] | Soluble Aluminium
Soluble Arsenic | (g/m3) | [11 empty] | Soluble Arsenic
Soluble Cadmium | (g/m3) | [11 empty] | Soluble Cadmium
Soluble Chromium | (g/m3) | [7 empty] | Metals as totals |  |  |  | Soluble Chromium
Soluble copper | (g/m3) | [11 empty] | Soluble copper
Soluble nickel | (g/m3) | [11 empty] | Soluble nickel
Soluble lead | (g/m3) | [11 empty] | Soluble lead
6. Ionic Ratio | [12 empty] | 6. Ionic Ratio
(calculated) | [12 empty] | (calculated)
7. VOC's | [12 empty] | 7. VOC's
8. SVOC's | [12 empty] | 8. SVOC's
Proposed Consent Monitoring Frequency
Groundwater bores
Key Indicators for on going monitoring - 3 monthly: |  |  | Field: | Water level, temp,EC,pH
|  |  | Lab: | pH, EC, Chloride, Potassium, NH4-N, NO3-N, Boron (sol)
Full screen for trigger exceedance |  |  | as above plus:
alkalinity, COD, Sulphate, sodium,calcium,magnesium,
zinc(sol),Metals - Cr, Mn, Fe, Ni, Cu, As, Pb (all as solubles for groundwater)
Leachate: |  |  | 6 monthly: | pH,EC, Alk, SO4,DRP, COD, Chloride, Na, K, Ca, Mg, NH4-N, No3-N, B ( tot), Fe (tot), Zn (sol +tot),
|  |  | Annual (April) | As per 6 month plus Metals as for groundwater but as totals, TPH
PFAS
Stormwater: |  |  | SS,pH, EC, Boron, NH4-N, NO3-N, Chloride, Zn (sol)
Stormwater - 2 rain events of >5mm in one hour per year
Clutha River |  |  | SS,pH, EC, Boron, NH4-N, NO3-N, Chloride, Zn (sol)
Trigger Levels |  |  | Trigger levels to be set at mean + 3 std deviations of minimum 3 monitoring rounds prior to Stage 2 commissioning
|  |  | Trigger levels to be set for parameters marked |  |  |  | in table above

## Initial sampling
Sampling Date: |  | March 2004 - Initial sampling
= analysis required
Analyses | [5 empty] | Sampling Location
|  | Bore 1 | Bore 2 | Bore 3 | Bore 4 | Underdrain | Leachate pond | Swater
|  | Deep bore up gully | Shallow bore up gully | At Benchmark | Downstream of fill | Groundwater subsoil |  | Stormwater pond
1. General Parameters
pH
Conductivity | (mS/m)
alkalinity | (g/m3)
Total Organic Carbon | (g/m3)
BOD | (g/m3)
COD | (g/m3)
Soluble Boron | (g/m3)
Temperature | (deg. C)
Water Level : Depth | (m)
Water Level : RL | (RL m)
2. Nutrients
Nitrate-N | (g/m3)
Nitrite-N | (g/m3)
Ammonium-N | (g/m3)
T.K.N. | (g/m3)
DRP | (g/m3)
3. Anions
Chloride | (g/m3)
Sulphate | (g/m3)
4. Cations
Calcium | (g/m3)
Sodium | (g/m3)
Magnesium | (g/m3)
Potassium | (g/m3)
5. Heavy metals
Acid Soluble Zinc | (g/m3)
Soluble iron | (g/m3)
Soluble Manganese | (g/m3)
Soluble Aluminium | (g/m3)
Soluble Arsenic | (g/m3)
Soluble Cadmium | (g/m3)
Soluble Chromium | (g/m3)
Soluble copper | (g/m3)
Soluble nickel | (g/m3)
Soluble lead | (g/m3)
6. Ionic Ratio
(calculated)
7. VOC's, TPH
8. SVOC's
Consent Requirements
Key Indicators for on going monitoring: |  |  | Field: | Water level, temp
|  |  | Lab: | pH, EC, Chloride, Potassium, NH4-N, NO3-N, Boron (sol)
Full screen for trigger exceedance |  |  | as above plus:
alkalinity, TOC,BOD, COD, Sulphate,DRP, sodium,calcium,magnesium, zinc(sol),silica,TKN, Metals - Al, Cr, Mn, Fe, Co, Ni, Cu, As, Cd, Pb (all as solubles for groundwater)
SVOCs
Leachate: |  |  | 6 monthly: | pH,EC, Alk, SO4,DRP,TOC, BOD, COD, Chloride, Na, K, Ca, Mg, NH4-N, No3-N, B (sol+ tot), Fe (sol +tot), Zn (sol +tot), Silica
|  |  | Annual (April) | As per 6 month plus Metals as for groundwater but as totals, SVOC, VOC
Stormwater: |  |  | SS,pH, EC, Alk, TOC, NH4-N, NO3-N, Chloride, SO4, Zn (sol)